## excel2
Standardisation test results |  |  |  |  | Precision |  |  |  | Accuracy |  | OUTCOME
Weight |  | subjects | mean | SD | max | Technical error | TEM/mean | Coef of reliability | Bias from superv | Bias from median |  |  | From | From
|  | # | kg | kg | kg | TEM (kg) | TEM (%) | R (%) | Bias (kg) | Bias (kg) |  |  | Supervisor | Median
| Supervisor | 10 | 13.6 | 2.8 | 0.1 | 0.05 | 0.4 | 100 | 0 | 0.06 | TEM acceptable | R value good | Bias good | Bias acceptable
| Enumerator 1 | 10 | 13.6 | 2.7 | 0.1 | 0.05 | 0.4 | 100 | 0.04 | 0.04 | TEM acceptable | R value good | Bias acceptable | Bias acceptable
| Enumerator 2 | 10 | 13.6 | 2.7 | 0.2 | 0.06 | 0.5 | 99.9 | 0.07 | 0.03 | TEM acceptable | R value good | Bias acceptable | Bias good
| Enumerator 3 | 10 | 13.6 | 2.8 | 0.1 | 0.05 | 0.4 | 100 | 0.05 | 0.04 | TEM acceptable | R value good | Bias acceptable | Bias good
| Enumerator 4 | 10 | 13.5 | 2.7 | 0.1 | 0.04 | 0.3 | 100 | 0.08 | 0.03 | TEM good | R value good | Bias acceptable | Bias good
| Enumerator 5 | 10 | 13.6 | 2.7 | 0.2 | 0.06 | 0.4 | 100 | 0.07 | 0.03 | TEM acceptable | R value good | Bias acceptable | Bias good
| Enumerator 6 | 10 | 13.5 | 2.7 | 0.1 | 0.04 | 0.3 | 100 | 0.1 | 0.05 | TEM acceptable | R value good | Bias acceptable | Bias acceptable
| Enumerator 7 | 10 | 13.3 | 2.9 | 3 | 0.74 | 5.5 | 93.7 | 0.31 | 0.29 | TEM reject | R value poor | Bias reject | Bias reject
| Enumerator 8 | 10 | 13.6 | 2.8 | 0.1 | 0.04 | 0.3 | 100 | 0.09 | 0.06 | TEM good | R value good | Bias acceptable | Bias acceptable
| Enumerator 9 | 10 | 13.6 | 2.8 | 0.1 | 0.03 | 0.2 | 100 | 0.04 | 0.06 | TEM good | R value good | Bias good | Bias acceptable
| Enumerator 10 | 10 | 13.6 | 2.8 | 0.2 | 0.06 | 0.5 | 99.9 | 0.05 | 0.04 | TEM acceptable | R value good | Bias acceptable | Bias good
| Enumerator 11 | 10 | 13.6 | 2.8 | 0.1 | 0.05 | 0.4 | 100 | 0.05 | 0.04 | TEM acceptable | R value good | Bias acceptable | Bias acceptable
| Enumerator 12 | 10 | 13.6 | 2.8 | 0.1 | 0.05 | 0.4 | 100 | 0.06 | 0.03 | TEM acceptable | R value good | Bias acceptable | Bias good
| Enumerator 13 | 10 | 13.6 | 2.8 | 0.1 | 0.04 | 0.3 | 100 | 0.06 | 0.03 | TEM acceptable | R value good | Bias acceptable | Bias good
0.09 | 0.04 | TEM good | R value good | Bias acceptable | Bias acceptable
0.06 | 0.04 | TEM acceptable | R value good | Bias acceptable | Bias acceptable
| Enumerator 16 | 10 | 13.5 | 2.8 | 0.1 | 0.03 | 0.2 | 100
| Enumerator 17 | 10 | 13.6 | 2.8 | 0.3 | 0.09 | 0.7 | 99.9
| enum inter 1st | 15x10 | 13.6 | 2.7 | - | 0.1 | 0.8 | 99.8 | - | - | TEM acceptable | R value good
| enum inter 2nd | 15x10 | 13.5 | 2.7 | - | 0.26 | 1.9 | 99.1 | - | - | TEM reject | R value good
| inter enum + sup | 16x10 | 13.6 | 2.7 | - | 0.18 | 1.3 | 99.5 | - | - | TEM acceptable | R value good
| TOTAL intra+inter | 15x10 | - | - | - | 0.28 | 2.1 | 98.9 | - | - | TEM reject | R value acceptable
| TOTAL+ sup | 16x10 | - | - | - | 0.27 | 2 | 99 | - | - | TEM reject | R value acceptable
Height |  | subjects | mean | SD | max | Technical error | TEM/mean | Coef of reliability | Bias from superv | Bias from median |  |  | From | From
|  | # | cm | cm | cm | TEM (cm) | TEM (%) | R (%) | Bias (cm) | Bias (cm) |  |  | Supervisor | Median
| Supervisor | 10 | 96.1 | 10.3 | 0.9 | 0.34 | 0.4 | 99.9 | 0 | 0.2 | TEM good | R value good | Bias good | Bias good
| Enumerator 1 | 10 | 96.4 | 10.3 | 0.6 | 0.21 | 0.2 | 100 | 0.28 | 0.24 | TEM good | R value good | Bias good | Bias good
| Enumerator 2 | 10 | 95.8 | 10.3 | 1 | 0.28 | 0.3 | 99.9 | 0.39 | 0.34 | TEM good | R value good | Bias good | Bias good
| Enumerator 3 | 10 | 96.2 | 10.3 | 1 | 0.27 | 0.3 | 99.9 | 0.27 | 0.24 | TEM good | R value good | Bias good | Bias good
| Enumerator 4 | 10 | 96.3 | 10.2 | 0.7 | 0.24 | 0.3 | 99.9 | 0.45 | 0.29 | TEM good | R value good | Bias acceptable | Bias good
| Enumerator 5 | 10 | 95.7 | 10 | 0.7 | 0.24 | 0.3 | 99.9 | 0.62 | 0.55 | TEM good | R value good | Bias acceptable | Bias acceptable
| Enumerator 6 | 10 | 96 | 10.2 | 0.1 | 0.03 | 0 | 100 | 0.26 | 0.22 | TEM good | R value good | Bias good | Bias good
| Enumerator 7 | 10 | 96.4 | 10.2 | 1 | 0.28 | 0.3 | 99.9 | 0.53 | 0.38 | TEM good | R value good | Bias acceptable | Bias good
| Enumerator 8 | 10 | 96.2 | 10.3 | 0.3 | 0.07 | 0.1 | 100 | 0.26 | 0.24 | TEM good | R value good | Bias good | Bias good
| Enumerator 9 | 10 | 96.1 | 10.3 | 0.8 | 0.32 | 0.3 | 99.9 | 0.36 | 0.24 | TEM good | R value good | Bias good | Bias good
| Enumerator 10 | 10 | 96.4 | 10.2 | 0.5 | 0.23 | 0.2 | 100 | 0.4 | 0.31 | TEM good | R value good | Bias good | Bias good
| Enumerator 11 | 10 | 96.3 | 10.2 | 0.5 | 0.21 | 0.2 | 100 | 0.41 | 0.21 | TEM good | R value good | Bias acceptable | Bias good
| Enumerator 12 | 10 | 95.8 | 10.3 | 1 | 0.34 | 0.4 | 99.9 | 0.41 | 0.43 | TEM good | R value good | Bias acceptable | Bias acceptable
| Enumerator 13 | 10 | 96.3 | 10.3 | 0.5 | 0.2 | 0.2 | 100 | 0.31 | 0.31 | TEM good | R value good | Bias good | Bias good
| Enumerator 17 | 10 | 89.1 | 28.8 | 0.9 | 0.35 | 0.4 | 100 | 7.38 | 7.34 | TEM good | R value good | Bias reject | Bias reject
| enum inter 1st | 14x10 | 95.6 | 12.4 | - | 6.05 | 6.3 | 76.2 | - | - | TEM reject | R value reject
| enum inter 2nd | 14x10 | 95.6 | 12.4 | - | 6.07 | 6.3 | 75.9 | - | - | TEM reject | R value reject
| inter enum + sup | 15x10 | 95.7 | 12.2 | - | 5.85 | 6.1 | 77.6 | - | - | TEM reject | R value reject
| TOTAL intra+inter | 14x10 | - | - | - | 6.07 | 6.3 | 75.9 | - | - | TEM reject | R value reject
| TOTAL+ sup | 15x10 | - | - | - | 5.86 | 6.1 | 77 | - | - | TEM reject | R value reject
MUAC |  | subjects | mean | SD | max | Technical error | TEM/mean | Coef of reliability | Bias from superv | Bias from median |  |  | From | From
|  | # | mm | mm | mm | TEM (mm) | TEM (%) | R (%) | Bias (mm) | Bias (mm) |  |  | Supervisor | Median
| Supervisor | 10 | 151.3 | 9.9 | 3 | 1.12 | 0.7 | 98.7 | 0 | 1.05 | TEM good | R value acceptable | Bias good | Bias acceptable
| Enumerator 1 | 10 | 151.3 | 9.1 | 3 | 0.84 | 0.6 | 99.2 | 2.25 | 1.3 | TEM good | R value good | Bias poor | Bias acceptable
| Enumerator 2 | 10 | 150.4 | 9.4 | 3 | 1.02 | 0.7 | 98.8 | 1.33 | 1.18 | TEM good | R value acceptable | Bias acceptable | Bias acceptable
| Enumerator 3 | 10 | 152.4 | 9 | 1 | 0.55 | 0.4 | 99.6 | 2.08 | 1.72 | TEM good | R value good | Bias poor | Bias acceptable
| Enumerator 4 | 10 | 152.3 | 9.2 | 2 | 0.74 | 0.5 | 99.3 | 2.21 | 1.52 | TEM good | R value good | Bias poor | Bias acceptable
| Enumerator 5 | 10 | 150.3 | 8.9 | 3 | 0.84 | 0.6 | 99.1 | 2.27 | 1.65 | TEM good | R value good | Bias poor | Bias acceptable
| Enumerator 6 | 10 | 151.7 | 9.1 | 2 | 0.77 | 0.5 | 99.3 | 1.48 | 0.77 | TEM good | R value good | Bias acceptable | Bias good
| Enumerator 7 | 10 | 150.9 | 8.7 | 10 | 2.29 | 1.5 | 93.1 | 1.85 | 1.33 | TEM acceptable | R value poor | Bias acceptable | Bias acceptable
| Enumerator 8 | 10 | 152.4 | 8.8 | 2 | 0.55 | 0.4 | 99.6 | 2.33 | 1.53 | TEM good | R value good | Bias poor | Bias acceptable
| Enumerator 9 | 10 | 151 | 9.9 | 2 | 0.77 | 0.5 | 99.4 | 1.48 | 0.95 | TEM good | R value good | Bias acceptable | Bias good
| Enumerator 10 | 10 | 152 | 9.7 | 2 | 1.05 | 0.7 | 98.8 | 1.6 | 1.2 | TEM good | R value acceptable | Bias acceptable | Bias acceptable
| Enumerator 11 | 10 | 153.3 | 9 | 2 | 0.89 | 0.6 | 99 | 2.51 | 2.12 | TEM good | R value good | Bias poor | Bias poor
| Enumerator 12 | 10 | 150.9 | 9.1 | 3 | 0.92 | 0.6 | 99 | 1.65 | 1.36 | TEM good | R value acceptable | Bias acceptable | Bias acceptable
| Enumerator 13 | 10 | 151.4 | 8.8 | 2 | 0.77 | 0.5 | 99.2 | 2.02 | 1.04 | TEM good | R value good | Bias poor | Bias acceptable
| Enumerator 14 | 10 | 148.4 | 9.5 | 2 | 0.95 | 0.6 | 99 | 3.55 | 3 | TEM good | R value good | Bias reject | Bias reject
| Enumerator 15 | 10 | 151.6 | 9.5 | 1 | 0.39 | 0.3 | 99.8 | 1.66 | 1.25 | TEM good | R value good | Bias acceptable | Bias acceptable
| Enumerator 16 | 10 | 152.6 | 9.3 | 3 | 0.74 | 0.5 | 99.4 | 2.77 | 2.08 | TEM good | R value good | Bias poor | Bias poor
| Enumerator 17 | 10 | 151.3 | 9.8 | 11 | 2.62 | 1.7 | 92.9 | 2.48 | 2.06 | TEM acceptable | R value poor | Bias poor | Bias poor
| Enumerator 18 | 10 | 154.1 | 9.1 | 2 | 0.97 | 0.6 | 98.9 | 3.45 | 3.06 | TEM good | R value acceptable | Bias reject | Bias reject
| Enumerator 19 | 10 | 151.3 | 8.7 | 2 | 0.74 | 0.5 | 99.3 | 2.74 | 1.76 | TEM good | R value good | Bias poor | Bias acceptable
| Enumerator 20 | 10 | 152.4 | 9.1 | 2 | 0.81 | 0.5 | 99.2 | 2.07 | 1.43 | TEM good | R value good | Bias poor | Bias acceptable
| enum inter 1st | 20x10 | 151.5 | 9.1 | - | 2.16 | 1.4 | 94.4 | - | - | TEM acceptable | R value poor
| enum inter 2nd | 20x10 | 151.7 | 9 | - | 1.78 | 1.2 | 96.1 | - | - | TEM good | R value acceptable
| inter enum + sup | 21x10 | 151.6 | 9.1 | - | 1.97 | 1.3 | 95.3 | - | - | TEM good | R value acceptable
| TOTAL intra+inter | 20x10 | - | - | - | 2.26 | 1.5 | 93.8 | - | - | TEM acceptable | R value poor
| TOTAL+ sup | 21x10 | - | - | - | 2.26 | 1.5 | 93.8 | - | - | TEM acceptable | R value poor
Suggested cut-off points for acceptability of measurements
Parameter |  | MUAC mm | Weight Kg | Height cm
individual | good | <2.0 | <0.04 | <0.4
TEM | acceptable | <2.7 | <0.10 | <0.6
(intra) | poor | <3.3 | <0.21 | <1.0
| reject | >3.3 | >0.21 | >1.0
Team TEM | good | <2.0 | <0.10 | <0.5
(intra+inter) | acceptable | <2.7 | <0.21 | <1.0
and Total | poor | <3.3 | <0.24 | <1.5
| reject | >3.3 | >0.24 | >1.5
R value | good | >99 | >99 | >99
| acceptable | >95 | >95 | >95
| poor | >90 | >90 | >90
| reject | <90 | <90 | <90
Bias | good | <1 | <0.04 | <0.4
| acceptable | <2 | <0.10 | <0.8
| poor | <3 | <0.21 | <1.4
| reject | >3 | >0.21 | >1.4